**BOQ FOR THE DRILLING OF FIVE (5NO.) HAND PUMP BOREHOLES FOR JIRI GROUP, MADAGALI L.G.A.:**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S/N** | **DESCRIPTION OF ITEM** | **UNIT** | **QUANTITY** | **UNIT**  **PRICE ₦** | **AMOUNT**  **₦** |
| 1. | Allow for geological survey to determine suitable location for the bore hole drilling |  |  |  |  |
| 2 | Allow for project photograph and reports |  |  |  |  |
| 3 | Allow for project signboard |  |  |  |  |
| 4 | Allow to site mobilization of machineries/ equipment and manpower for the drilling work and demobilization from site on completion. |  |  |  |  |
| 5 | Movement of equipment and personnel from one borehole point to another within the community. |  |  |  |  |
| 6 | Allow for commencement of drilling operation through basement using 150mm drilling bit |  |  |  |  |
| 7 | Supply and install 4 “ PVC casing |  |  |  |  |
| 8 | Supply and install 4 inch PVC screen |  |  |  |  |
| 9 | Allow for gravel parking of bore hole and grouting |  |  |  |  |
| 10 | Allow for development and pump testing to determine bore hole yield and other hydraulic parameters |  |  |  |  |
| 11 | Allow for biological and chemical analysis of water |  |  |  |  |
| 12 | Allow construction of platform |  |  |  |  |
| 13 | Supply and installation of Indian mark II hand pump |  |  |  |  |
| 14 | Sub-Total |  |  |  |  |
| 15 | Training of two community members on simple operation and maintenance of borehole and provision of maintenance tool. |  |  |  |  |
|  | Grand Total (Iteam14 + Iteam15) |  |  |  |  |